## Scenario Selection
|  | SCENARIO DESCRIPTION | [8 empty] | Kosten-Zeitreihe
|  | Notes |  |  | Select the desired scenario
On the orange cell, insert the number of the scenenario: 1,2 or 3
|  | SCENARIO SELECTION Reg Rahmen |  |  | 1
6 |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8
7 |  |  |  |  | Status quo | Status quo_kostenloser Abregelungsstrom | Test ohne Var.Costs | SITENG-V | Agora Mittel | Agora Groß | FlexFriendly | FlexFriendly
Transformer | transformer | pth_sch | variable_costs | pth_sch.variable_costs | 1 1: 136.63; 1 2: 0
| transformer | pth_pr | variable_costs | pth_pr.variable_costs | 1 1: 0; 1 2: 0
| transformer | boiler_pr | variable_costs | boiler_pr.variable_costs | 1 1: 136.93; 1 2: 136.93
| transformer | boiler_sch | variable_costs | boiler_sch.variable_costs | 1 1: 0.2; 1 2: 0.2
| transformer | wind_curtailment | variable_costs | wind_curtailment.variable_costs | 1 1: 0; 1 2: 0 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| transformer | wind_using | variable_costs | wind_using.variable_costs | 1 1: 0; 1 2: 0 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| transformer | wind_neg_spot | variable_costs | wind_neg_spot.variable_costs | 1 1: 0; 1 2: 0 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| transformer | negative_spot | variable_costs | negative_spot.variable_costs | 1 1: 0; 1 2: 0
| transformer | spot_to_flex | variable_costs | spot_to_flex.variable_costs | 1 1: 0; 1 2: 0; 1 4: 10
| transformer | ptg | variable_costs | ptg.variable_costs | 1 1: 105.83; 1 2: 0; 1 4: 40
| transformer | ptg_out | variable_costs | ptg_out.variable_costs | 1 1: -9.66; 1 2: -9.66
| transformer | meth | variable_costs | meth.variable_costs | 1 1: 0; 1 2: 0
| transformer |  |  |  | 1 2: 0
| transformer | pv_using | variable_costs | pv_using.variable_costs | 1 1: -40; 1 2: -40 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| transformer | pv_curtailment | variable_costs | pv_curtailment.variable_costs | 1 1: -40; 1 2: -40 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| transformer | pv_neg_spot | variable_costs | pv_neg_spot.variable_costs | 1 1: -40; 1 2: -40 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
0
| chp | chp_sch | variable_costs | chp_sch.variable_costs | 1 1: 8; 1 2: 8
| chp | chp_sch | LP (+KP) für Netznutzung | chp_sch.LP (+KP) für Netznutzung | 1 1: 369360; 1 2: 369360
| chp | chp_pr | variable_costs | chp_pr.variable_costs | 1 1: 8; 1 2: 8
0
|  |  |  | . | 1 2: 0
| demand | spot_market_sink | variable_costs | spot_market_sink.variable_costs | 1 2: 0
| demand | dist_heat_sch | variable_costs | dist_heat_sch.variable_costs | 1 1: -50; 1 2: -50
| demand | dist_heat_pr | variable_costs | dist_heat_pr.variable_costs | 1 1: -50; 1 2: -50
| demand | curtailment | variable_costs | curtailment.variable_costs | 1 1: 0; 1 2: 0 | Annahme: feste Einspeisevergütung / anzulgende Wert = 40€/MWh
| demand | el_demand_uck | variable_costs | el_demand_uck.variable_costs | 1 1: 0; 1 2: 0
|  |  |  | . | 1 2: 0
| cs | cs_gas | variable_costs | cs_gas.variable_costs | 1 1: 40.21; 1 2: 40.21; 1 3: 40.21
| cs | cs_electric | variable_costs | cs_electric.variable_costs | 1 2: 0
|  |  |  | . | 1 2: 0
| storages | storage_th_pr | input_costs | storage_th_pr.input_costs | 1 1: 0.005; 1 2: 0.005
| storages | storage_th_pr | output_costs | storage_th_pr.output_costs | 1 1: 0; 1 2: 0
| storages | storage_th_sch | input_costs | storage_th_sch.input_costs | 1 1: 0.005; 1 2: 0.005
| storages | storage_th_sch | output_costs | storage_th_sch.output_costs | 1 1: 0; 1 2: 0
| storages | batt | input_costs | batt.input_costs | 1 1: 105.83; 1 2: 105.83
| storages | batt | output_costs | batt.output_costs | 1 1: -63.5; 1 2: -63.5
0
| transformer | boiler_sch | LP (+KP) für Netznutzung | boiler_sch.LP (+KP) für Netznutzung | 1 1: 719280; 1 2: 719280
| transformer | boiler_pr | LP (+KP) für Netznutzung | boiler_pr.LP (+KP) für Netznutzung | 1 1: 719280; 1 2: 719280
0
| transformer | boiler_sch | Mess./Abrechn./(GP) | boiler_sch.Mess./Abrechn./(GP) | 1 1: 1344.48; 1 2: 1344.48
| transformer | boiler_pr | Mess./Abrechn./(GP) | boiler_pr.Mess./Abrechn./(GP) | 1 1: 1344.48; 1 2: 1344.48
#REF! | Electricity | €/kWh | AP für Netznutzung | Electricity.AP für Netznutzung | 0.0306 |  |  | 0 |  | 0.0306 | 0.0235 | 0.007
#REF! | Electricity |  | EEG-Umlage | Electricity.EEG-Umlage | 0.0635 |  |  | 0.0254 |  | 0 | 0.0635 | 0.0635
#REF! | Electricity |  | Konzessionsabgaben | Electricity.Konzessionsabgaben | 0.0132 |  |  | 0.0132 |  | 0.0132 | 0.0132 | 0.0132
#REF! | Electricity |  | § 19-StromNEV-Umlage | Electricity.§ 19-StromNEV-Umlage | 0.00378 |  |  | 0 |  | 0 | 0.00378 | 0.00378
#REF! | Electricity |  | Stromsteuer | Electricity.Stromsteuer | 0.0205 |  |  | 0.0205 |  | 0 | 0.0205 | 0.0205 | § 3 StromStG
#REF! | Electricity |  | CO2-Steuer | Electricity.CO2-Steuer | 0 |  |  | 0 | 21.15 | 58.75 | 0 | 0
#REF! | Electricity |  | KWK Umlage | Electricity.KWK Umlage | 1 1: 0.00445; 1 4: 0; 1 7: 0.00445; 1 8: 0.00445
#REF! | Electricity |  | Offshore-Haftungsumlage | Electricity.Offshore-Haftungsumlage | 0.0004 |  |  | 0 |  | 0 | 0.0004 | 0.0004
#REF! | Electricity |  | § 18 Absatz 1+2 absch. L. | Electricity.§ 18 Absatz 1+2 absch. L. | 0 |  |  | 0 |  | 0 | 0 | 0
#REF! | Electricity | €/MW/a | KP | Electricity.KP | 1 1: 0; 1 4: 0; 1 7: 5.72; 1 8: 11.91
#REF! | Electricity |  | LP für Netznutzung | Electricity.LP für Netznutzung | 36.6 |  |  | 0 |  | 36.6 | 10.08 | 0
#REF! | Electricity | €/a | GP_a | Electricity.GP_a | 0 |  |  | 0 |  | 0 | 3920 | 8160
#REF! | Electricity |  | Messung/Betrieb/ Abrechnung | Electricity.Messung/Betrieb/ Abrechnung | 1939.56 |  |  | 1939.56 |  | 1939.56 | 1939.56 | 1939.56
#REF! |  |  |  | .
#REF! | Kosten Energie | €/MWh | gas price | Kosten Energie.gas price | 29.11 |  | 29.11 | 29.11 | 29.11 | 29.11 | 29.11 | 29.11 |  | Zone 2
#REF! |  |  |  | .
| Gas | €/MWh | AP für Netznutzung | Gas.AP für Netznutzung | 1 1: 4.16; 1 3: 4.16 | \cite{E.DISAG2016a} S.4
| Gas |  |  | Gas.
#REF! | Gas |  | gas Steuer | Gas.gas Steuer | 1 1: 5.5; 1 3: 5.5 | \cite{Bundesnetzagentur2016a} S 340 | für den Abnahmefall 116 MWh/Jahr
| Gas |  | gas CO2-Kosten | Gas.gas CO2-Kosten | 1.4 |  | 1.4 | 1.4 | 10.4 | 26.4 | 1.4 | 1.4
#REF! | Gas |  | Konzessionsabgaben | Gas.Konzessionsabgaben | 1 1: 0.04; 1 3: 0.04 | \cite{Bundesnetzagentur2016a} S 340 | für den Abnahmefall 116 MWh/Jahr
#REF! | Gas | €/MW/a | KP | Gas.KP | [8 empty] | \cite{E.DISAG2016a} S.4 | Zone 2
#REF! | Gas |  | LP für Netznutzung | Gas.LP für Netznutzung | 1 1: 19440
#REF! | Gas | €/a | GP_a | Gas.GP_a | [8 empty] | \cite{E.DISAG2016a} S.7
#REF! | Gas |  | Messung/Betrieb/ Abrechnung | Gas.Messung/Betrieb/ Abrechnung | 1 1: 1344.48
#REF! |  |  |  | .
| CO2-Intensität | tCO2/MWh | Gas | CO2-Intensität.Gas | 0.2 |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | \cite{Buchner2018} S.148
| CO2-Intensität |  | Strommix | CO2-Intensität.Strommix | 1 5: 0.47; 1 6: 0.47
| CO2-Kosten | €/tCO2 | ETC-Handelspreis | CO2-Kosten.ETC-Handelspreis | 7 |  | 7 | 7 | 7 | 7 | 7 | 7 | \cite{Graichen2018} S. 32
| CO2-Kosten |  | CO2-Steuer | CO2-Kosten.CO2-Steuer | 1 5: 45; 1 6: 125 | \cite{Graichen2018} S. 32, 34
.
| Strom-Mix | % | EE-Anteil | Strom-Mix.EE-Anteil | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
| Strom-Mix |  |  | Strom-Mix. | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
| Strom-Mix |  |  | Strom-Mix. | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A
.
.
#REF! | Heat | €/MWh | Fernwärmepreis | Heat.Fernwärmepreis | 50 |  |  | 50 | 50 | 50 | 50 | 50 | \cite{Zapf2017} S. 115
#REF! |  |  |  | .
#REF! | Invest | €/MW/a | hot water boiler (1-30 MW_th) | Invest.hot water boiler (1-30 MW_th) | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | \cite{Große2017} S. 19
#REF! | Invest |  | hot water tube boiler (20-250 MW_th) | Invest.hot water tube boiler (20-250 MW_th) | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | \cite{Große2017} S. 21
#REF! | Invest |  | kwk klein (0.5-30 MW_el) | Invest.kwk klein (0.5-30 MW_el) | #N/A |  |  | #N/A | #N/A | #N/A | #N/A | #N/A | \cite{Große2017} S. 96
#REF! | Invest |  | kwk mittel (30-250 MW_el) | Invest.kwk mittel (30-250 MW_el) | 0 |  |  | 0 | 0 | 0 | 0 | 0 | \cite{Große2017} S. 99
#REF! | Invest |  | kwk groß (>250 MW_el) | Invest.kwk groß (>250 MW_el) | 0 |  |  | 0 | 0 | 0 | 0 | 0 | \cite{Große2017} S. 102
#REF! | Invest |  | pth | Invest.pth | 0 |  |  | 0 | 0 | 0 | 0 | 0 | \cite{Große2017} S. 32
#REF! | Invest |  | batt | Invest.batt | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF! | Invest |  | ptg | Invest.ptg | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF! |  |  |  | .
#REF! | variable O&M | €/MWh | hot water boiler (1-30 MW_th) | variable O&M.hot water boiler (1-30 MW_th) | 0.5 |  |  | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | \cite{Große2017} S. 19
#REF! | variable O&M |  | hot water tube boiler (20-250 MW_th) | variable O&M.hot water tube boiler (20-250 MW_th) | 0.2 |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | \cite{Große2017} S. 21
#REF! | variable O&M |  | kwk klein (0.5-30 MW_el) | variable O&M.kwk klein (0.5-30 MW_el) | 8 |  |  | 8 | 8 | 8 | 8 | 8 | \cite{Große2017} S. 96
#REF! | variable O&M |  | kwk mittel (30-250 MW_el) | variable O&M.kwk mittel (30-250 MW_el) | 7 |  |  | 7 | 7 | 7 | 7 | 7 | \cite{Große2017} S. 99
#REF! | variable O&M |  | kwk groß (>250 MW_el) | variable O&M.kwk groß (>250 MW_el) | 5 |  |  | 5 | 5 | 5 | 5 | 5 | \cite{Große2017} S. 102
#REF! | variable O&M |  | pth | variable O&M.pth | 0.2 |  |  | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | \cite{Große2017} S. 32
#REF! | variable O&M |  | batt | variable O&M.batt | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF! | variable O&M |  | ptg | variable O&M.ptg | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF! |  |  |  | .
| KWK-Zulagen | €/MWh | KWK bis 0.05 MW | KWK-Zulagen.KWK bis 0.05 MW | 1 1: 80 | https://www.gesetze-im-internet.de/kwkg_2016/__7.html
| KWK-Zulagen | €/MWh | KWK bis 0.1 MW | KWK-Zulagen.KWK bis 0.1 MW | 1 1: 60 | https://www.gesetze-im-internet.de/kwkg_2016/__7.html
| KWK-Zulagen | €/MWh | KWK bis 0.25 MW | KWK-Zulagen.KWK bis 0.25 MW | 1 1: 50 | https://www.gesetze-im-internet.de/kwkg_2016/__7.html
| KWK-Zulagen | €/MWh | KWK bis 2 MW | KWK-Zulagen.KWK bis 2 MW | 1 1: 44 | https://www.gesetze-im-internet.de/kwkg_2016/__7.html
| KWK-Zulagen | €/MWh | KWK > 2 MW | KWK-Zulagen.KWK > 2 MW | 1 1: 31 | https://www.gesetze-im-internet.de/kwkg_2016/__7.html
#REF! | fixed O&M | €/MW/a | hot water boiler (1-30 MW_th) | fixed O&M.hot water boiler (1-30 MW_th) | 3000 |  |  | 3000 | 3000 | 3000 | 3000 | 3000 | \cite{Große2017} S. 19
#REF! | fixed O&M |  | hot water tube boiler (20-250 MW_th) | fixed O&M.hot water tube boiler (20-250 MW_th) | 2000 |  |  | 2000 | 2000 | 2000 | 2000 | 2000 | \cite{Große2017} S. 21
#REF! | fixed O&M |  | kwk klein (0.5-30 MW_el) | fixed O&M.kwk klein (0.5-30 MW_el) | 10000 |  |  | 10000 | 10000 | 10000 | 10000 | 10000 | \cite{Große2017} S. 96
#REF! | fixed O&M |  | kwk mittel (30-250 MW_el) | fixed O&M.kwk mittel (30-250 MW_el) | 0 |  |  | 0 | 0 | 0 | 0 | 0 | \cite{Große2017} S. 99
#REF! | fixed O&M |  | kwk groß (>250 MW_el) | fixed O&M.kwk groß (>250 MW_el) | 0 |  |  | 0 | 0 | 0 | 0 | 0 | \cite{Große2017} S. 102
#REF! | fixed O&M |  | pth | fixed O&M.pth | 5000 |  |  | 5000 | 5000 | 5000 | 5000 | 5000 | \cite{Große2017} S. 32
#REF! | fixed O&M |  | batt | fixed O&M.batt | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF! | fixed O&M |  | ptg | fixed O&M.ptg | 0 |  |  | 0 | 0 | 0 | 0 | 0
#REF!
1
für den KWK-Leistungsanteil von bis zu 50 Kilowatt: 8 Cent je Kilowattstunde,
2
für den KWK-Leistungsanteil von mehr als 50 Kilowatt und bis zu 100 Kilowatt: 6 Cent je Kilowattstunde,
3
für den KWK-Leistungsanteil von mehr als 100 Kilowatt bis zu 250 Kilowatt: 5 Cent je Kilowattstunde,
4
für den KWK-Leistungsanteil von mehr als 250 Kilowatt bis zu 2 Megawatt: 4,4 Cent je Kilowattstunde und
5
für den KWK-Leistungsanteil von mehr als 2 Megawatt: 3,1 Cent je Kilowattstunde.
Note on F31: 78.51 EUR/MWh MIXED PRICE Source: Slide 13 Ökologische und bezahlbare Fernwärme für eine mittelgroße Stadt https://mil.brandenburg.de/media_fast/4055/Harald%20Jahnke%202017-10-19%20Br%C3%BCssel.pdf
Note on G31: 78.51 EUR/MWh MIXED PRICE Source: Slide 13 Ökologische und bezahlbare Fernwärme für eine mittelgroße Stadt https://mil.brandenburg.de/media_fast/4055/Harald%20Jahnke%202017-10-19%20Br%C3%BCssel.pdf
Note on F32: 80.67 EUR/MWh MIXED PRICE Source: Slide 13 Ökologische und bezahlbare Fernwärme für eine mittelgroße Stadt https://mil.brandenburg.de/media_fast/4055/Harald%20Jahnke%202017-10-19%20Br%C3%BCssel.pdf
Note on G32: 80.67 EUR/MWh MIXED PRICE Source: Slide 13 Ökologische und bezahlbare Fernwärme für eine mittelgroße Stadt https://mil.brandenburg.de/media_fast/4055/Harald%20Jahnke%202017-10-19%20Br%C3%BCssel.pdf
Note on F36: 37.13 EUR/MWh Variable cost for gas=gas cost Gas cost=gas price + gas taxes. Average GAS PRICE for industrial customers 2016 2.77 cent/KWh Gas taxes: 0.943 cent/kWh Varible cost for gas= 2.77 + 0.943=3.713 cent/kWh = 37.13 EUR/MWh Gas taxes are included here because either CHP als gas boiler uses this gas commodity. Source gas taxes: (Network charges + CO2 emissions taxes) 2017 monitor bericht Page 278. https://www.bundesnetzagentur.de/SharedDocs/Downloads/EN/BNetzA/PressSection/ReportsPublications/2016/MonitoringReport_2016.pdf?__blob=publicationFile&v=3 Source average gas price: Gaspreise* für Gewerbe- und Industriekunden in Deutschland in den Jahren 2008 bis 2017 (in Euro-Cent pro Kilowattstunde) https://de.statista.com/statistik/daten/studie/168528/umfrage/gaspreise-fuer-gewerbe--und-industriekunden-seit-2006/
Note on G36: 37.13 EUR/MWh Variable cost for gas=gas cost Gas cost=gas price + gas taxes. Average GAS PRICE for industrial customers 2016 2.77 cent/KWh Gas taxes: 0.943 cent/kWh Varible cost for gas= 2.77 + 0.943=3.713 cent/kWh = 37.13 EUR/MWh Gas taxes are included here because either CHP als gas boiler uses this gas commodity. Source gas taxes: (Network charges + CO2 emissions taxes) 2017 monitor bericht Page 278. https://www.bundesnetzagentur.de/SharedDocs/Downloads/EN/BNetzA/PressSection/ReportsPublications/2016/MonitoringReport_2016.pdf?__blob=publicationFile&v=3 Source average gas price: Gaspreise* für Gewerbe- und Industriekunden in Deutschland in den Jahren 2008 bis 2017 (in Euro-Cent pro Kilowattstunde) https://de.statista.com/statistik/daten/studie/168528/umfrage/gaspreise-fuer-gewerbe--und-industriekunden-seit-2006/
Note on H36: 37.13 EUR/MWh Variable cost for gas=gas cost Gas cost=gas price + gas taxes. Average GAS PRICE for industrial customers 2016 2.77 cent/KWh Gas taxes: 0.943 cent/kWh Varible cost for gas= 2.77 + 0.943=3.713 cent/kWh = 37.13 EUR/MWh Gas taxes are included here because either CHP als gas boiler uses this gas commodity. Source gas taxes: (Network charges + CO2 emissions taxes) 2017 monitor bericht Page 278. https://www.bundesnetzagentur.de/SharedDocs/Downloads/EN/BNetzA/PressSection/ReportsPublications/2016/MonitoringReport_2016.pdf?__blob=publicationFile&v=3 Source average gas price: Gaspreise* für Gewerbe- und Industriekunden in Deutschland in den Jahren 2008 bis 2017 (in Euro-Cent pro Kilowattstunde) https://de.statista.com/statistik/daten/studie/168528/umfrage/gaspreise-fuer-gewerbe--und-industriekunden-seit-2006/
Note on C39: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on D39: Autor: variable costs
Note on D40: Autor: variable costs
Note on D41: Autor: variable costs
Note on D42: Autor: variable costs
Note on D43: Autor: variable costs
Note on D44: Autor: variable costs
Note on F69: 37.13 EUR/MWh Variable cost for gas=gas cost Gas cost=gas price + gas taxes. Average GAS PRICE for industrial customers 2016 2.77 cent/KWh Gas taxes: 0.943 cent/kWh Varible cost for gas= 2.77 + 0.943=3.713 cent/kWh = 37.13 EUR/MWh Gas taxes are included here because either CHP als gas boiler uses this gas commodity. Source gas taxes: (Network charges + CO2 emissions taxes) 2017 monitor bericht Page 278. https://www.bundesnetzagentur.de/SharedDocs/Downloads/EN/BNetzA/PressSection/ReportsPublications/2016/MonitoringReport_2016.pdf?__blob=publicationFile&v=3 Source average gas price: Gaspreise* für Gewerbe- und Industriekunden in Deutschland in den Jahren 2008 bis 2017 (in Euro-Cent pro Kilowattstunde) https://de.statista.com/statistik/daten/studie/168528/umfrage/gaspreise-fuer-gewerbe--und-industriekunden-seit-2006/

## Year Selection
SCENARIO DESCRIPTION
|  | Notes |  |  | Select the desired scenario
On the orange cell, insert the number of the scenenario: 1,2 or 3
|  | SCENARIO SELECTION Year |  |  | 1
Quellen / Bemerkungen
6 |  |  |  |  | 1 | 2 | 3 | 1 | 2 | 3
7 | Sort | Component | Parameter | Component.Prameter | 2016 | 2035 | 2050
#REF! | cs | cs_gas | capacity | cs_gas.capacity | 1000000000 | 1000000000 | 1000000000
| cs | cs_electric | capacity | cs_electric.capacity | 1000000000 | 1000000000 | 1000000000
| chp | chp_pr | el efficiency min | chp_pr.el efficiency min | 0.25 | 0.25 | 0.25
| chp | chp_pr | el efficiency max | chp_pr.el efficiency max | 0.49 | 0.49 | 0.49
| chp | chp_pr | power min | chp_pr.power min | 0.9 | 0.9 | 0.9
| chp | chp_pr | power max | chp_pr.power max | 2.7 | 2.7 | 2.7
| demand | spot_market_sink | nominal value | spot_market_sink.nominal value | 1000000000 | 1000000000 | 1000000000
| demand | dist_heat_sch | nominal value | dist_heat_sch.nominal value | 52
| demand | dist_heat_pr | nominal value | dist_heat_pr.nominal value | 13.21
| demand | curtailment | nominal value | curtailment.nominal value | 1000000000 | 1000000000 | 1000000000
| demand | el_demand_uck | nominal value | el_demand_uck.nominal value | 26.6413 | 26.6413 | 26.6413
| renwables | wind_synth | capacity | wind_synth.capacity | 717.51 | 1004.4538 | 1244.3999
| renwables | pv_synth | capacity | pv_synth.capacity | 72.261 | 117.1452 | 156.4194
| Storages | storage_th_pr | nominal capacity | storage_th_pr.nominal capacity | 66
| Storages | storage_th_pr | nominal input value | storage_th_pr.nominal input value
| Storages | storage_th_pr | nominal output value | storage_th_pr.nominal output value
| Storages | storage_th_pr | capacity loss | storage_th_pr.capacity loss | 0.01
| Storages | storage_th_pr | efficiency inflow | storage_th_pr.efficiency inflow | 0.98
| Storages | storage_th_pr | efficiency outflow | storage_th_pr.efficiency outflow | 0.98
| Storages | storage_th_pr | initial capacity | storage_th_pr.initial capacity | 0
| Storages | storage_th_pr | capacity min | storage_th_pr.capacity min | 0
| Storages | storage_th_pr | capacity max | storage_th_pr.capacity max | 1
| Storages | storage_th_sch | nominal capacity | storage_th_sch.nominal capacity | 101
| Storages | storage_th_sch | nominal input value | storage_th_sch.nominal input value
| Storages | storage_th_sch | nominal output value | storage_th_sch.nominal output value
| Storages | storage_th_sch | capacity loss | storage_th_sch.capacity loss | 0.01
| Storages | storage_th_sch | efficiency inflow | storage_th_sch.efficiency inflow | 0.98
| Storages | storage_th_sch | efficiency outflow | storage_th_sch.efficiency outflow | 0.98
| Storages | storage_th_sch | initial capacity | storage_th_sch.initial capacity | 0
| Storages | storage_th_sch | capacity min | storage_th_sch.capacity min | 0
| Storages | storage_th_sch | capacity max | storage_th_sch.capacity max | 1
| Storages | batt | nominal capacity | batt.nominal capacity | 10
| Storages | batt | nominal input value | batt.nominal input value | 5
| Storages | batt | nominal output value | batt.nominal output value | 5
| Storages | batt | capacity loss | batt.capacity loss | 0.02
| Storages | batt | efficiency inflow | batt.efficiency inflow | 0.98
| Storages | batt | efficiency outflow | batt.efficiency outflow | 0.98
| Storages | batt | initial capacity | batt.initial capacity | 0
| Storages | batt | capacity min | batt.capacity min | 0
| Storages | batt | capacity max | batt.capacity max | 0.9
| Transformer | pth_pr | efficiency | pth_pr.efficiency | 0.99
| Transformer | pth_pr | capacity | pth_pr.capacity | 6.6
| Transformer | wind_curtailment | efficiency | wind_curtailment.efficiency | 1
| Transformer | wind_curtailment | capacity | wind_curtailment.capacity | 717.51
| Transformer | wind_using | efficiency | wind_using.efficiency | 1
| Transformer | wind_using | capacity | wind_using.capacity | 717.51
| Transformer | wind_neg_spot | efficiency | wind_neg_spot.efficiency | 1
| Transformer | wind_neg_spot | capacity | wind_neg_spot.capacity | 717.51
| Transformer | negative_spot | efficiency | negative_spot.efficiency | 1
| Transformer | negative_spot | capacity | negative_spot.capacity | 30000
| Transformer | spot_to_flex | efficiency | spot_to_flex.efficiency | 1
| Transformer | spot_to_flex | capacity | spot_to_flex.capacity | 390
| Transformer | ptg | efficiency | ptg.efficiency | 0.7
| Transformer | ptg | capacity | ptg.capacity | 5
| Transformer | ptg_out | efficiency | ptg_out.efficiency | 1
| Transformer | ptg_out | capacity | ptg_out.capacity | 5
| Transformer | meth | efficiency | meth.efficiency | 0.8
| Transformer | meth | capacity | meth.capacity | 5
| Transformer | pv_using | efficiency | pv_using.efficiency | 1
| Transformer | pv_using | capacity | pv_using.capacity | 72.261
| Transformer | pv_curtailment | efficiency | pv_curtailment.efficiency | 1
| Transformer | pv_curtailment | capacity | pv_curtailment.capacity | 72.261
| Transformer | pv_neg_spot | efficiency | pv_neg_spot.efficiency | 1
| Transformer | pv_neg_spot | capacity | pv_neg_spot.capacity | 72.261
| Transformer | chp_sch_el | capacity | chp_sch_el.capacity | 19
| Transformer | chp_sch_el | efficiency | chp_sch_el.efficiency | 1
| Transformer | chp_pr_el | capacity | chp_pr_el.capacity | 2.7
| Transformer | chp_pr_el | efficiency | chp_pr_el.efficiency | 1
| Transformer | boiler_sch | Invest. Eq. | boiler_sch.Invest. Eq. | 2220000 | 2220000 | 2220000
| Transformer | boiler_sch | fixed O&M | boiler_sch.fixed O&M | 74000 | 70300 | 66600
| Transformer | boiler_sch | lifetime | boiler_sch.lifetime | 30 | 30 | 40
| Transformer | boiler_sch | Invest. Installation | boiler_sch.Invest. Installation | 1480000 | 1480000 | 1480000
| Transformer | boiler_sch | efficiency | boiler_sch.efficiency | 0.9 | 0.9 | 0.9
| Transformer | boiler_sch | capacity | boiler_sch.capacity | 37 | 37 | 37
| Transformer | boiler_pr | Invest. Eq. | boiler_pr.Invest. Eq. | 2590000 | 2590000 | 2590000
| Transformer | boiler_pr | fixed O&M | boiler_pr.fixed O&M | 111000 | 92500 | 74000
| Transformer | boiler_pr | lifetime | boiler_pr.lifetime | 25 | 25 | 25
| Transformer | boiler_pr | Invest. Installation | boiler_pr.Invest. Installation | 1480000 | 1480000 | 1480000
| Transformer | boiler_pr | efficiency | boiler_pr.efficiency | 0.9 | 0.9 | 0.9
| Transformer | boiler_pr | capacity | boiler_pr.capacity | 37 | 37 | 37
| chp | chp_sch | Invest. Eq. | chp_sch.Invest. Eq. | 1140000 | 1140000 | 1140000
| chp | chp_sch | Invest. Installation | chp_sch.Invest. Installation | 760000 | 760000 | 760000
| chp | chp_sch | fixed O&M | chp_sch.fixed O&M | 190000 | 171000 | 152000
| chp | chp_sch | lifetime | chp_sch.lifetime | 30 | 35 | 35
| chp | chp_sch | el efficiency min | chp_sch.el efficiency min | 0.25 | 0.25 | 0.25
| chp | chp_sch | el efficiency max | chp_sch.el efficiency max | 0.49 | 0.49 | 0.49
| chp | chp_sch | power min | chp_sch.power min | 8 | 8 | 8
| chp | chp_sch | power max | chp_sch.power max | 19 | 19 | 19
| Transformer | pth_sch | Invest. Eq. | pth_sch.Invest. Eq. | 880000 | 880000 | 880000
| Transformer | pth_sch | Invest. Installation | pth_sch.Invest. Installation | 440000 | 440000 | 440000
| Transformer | pth_sch | efficiency | pth_sch.efficiency | 0.99 | 0.99 | 0.99
| Transformer | pth_sch | capacity | pth_sch.capacity | 11 | 11 | 11
| Transformer | pth_sch_out | efficiency | pth_sch_out.efficiency | 1 | 1 | 1
| Transformer | pth_sch_out | capacity | pth_sch_out.capacity | 11 | 11 | 11
| Transformer | pth_sch | lifetime | pth_sch.lifetime | 20 | 20 | 20
| Transformer | pth_sch | fixed O&M | pth_sch.fixed O&M | 55000 | 55000 | 55000
.
#REF! |  |  |  | .
#REF! | Invest. Eq. | €/MW | hot water boiler (1-30 MW_th) | Invest. Eq..hot water boiler (1-30 MW_th) | 70000 | 70000 | 70000 | \cite{Große2017} S. 19
| Invest. Installation | €/MW | hot water boiler (1-30 MW_th) | Invest. Installation.hot water boiler (1-30 MW_th) | 40000 | 40000 | 40000 | \cite{Große2017} S. 19
| fixed O&M | €/MW/a | hot water boiler (1-30 MW_th) | fixed O&M.hot water boiler (1-30 MW_th) | 3000 | 2500 | 2000 | \cite{Große2017} S. 19
#REF! | variable O&M | €/MWh | hot water boiler (1-30 MW_th) | variable O&M.hot water boiler (1-30 MW_th) | 0.5 | 0.5 | 0.2 | \cite{Große2017} S. 19
#REF! | lifetime | a | hot water boiler (1-30 MW_th) | lifetime.hot water boiler (1-30 MW_th) | 25 | 25 | 25 | \cite{Große2017} S. 19
#REF! | Invest. Eq. | €/MW | hot water tube boiler (20-250 MW_th) | Invest. Eq..hot water tube boiler (20-250 MW_th) | 60000 | 60000 | 60000 | \cite{Große2017} S. 21
| Invest. Installation | €/MW | hot water tube boiler (20-250 MW_th) | Invest. Installation.hot water tube boiler (20-250 MW_th) | 40000 | 40000 | 40000 | \cite{Große2017} S. 21
| fixed O&M | €/MW/a | hot water tube boiler (20-250 MW_th) | fixed O&M.hot water tube boiler (20-250 MW_th) | 2000 | 1900 | 1800 | \cite{Große2017} S. 21
#REF! | variable O&M | €/MWh | hot water tube boiler (20-250 MW_th) | variable O&M.hot water tube boiler (20-250 MW_th) | 0.2 | 0.2 | 0.2 | \cite{Große2017} S. 21
#REF! | lifetime | a | hot water tube boiler (20-250 MW_th) | lifetime.hot water tube boiler (20-250 MW_th) | 30 | 30 | 40 | \cite{Große2017} S. 21
#REF! | Invest. Eq. | €/MW | kwk klein (0.5-30 MW_el) | Invest. Eq..kwk klein (0.5-30 MW_el) | 630000 | 540000 | 450000 | \cite{Große2017} S. 96
| Invest. Installation | €/MW | kwk klein (0.5-30 MW_el) | Invest. Installation.kwk klein (0.5-30 MW_el) | 360000 | 360000 | 360000 | \cite{Große2017} S. 96
| fixed O&M | €/MW/a | kwk klein (0.5-30 MW_el) | fixed O&M.kwk klein (0.5-30 MW_el) | 10000 | 9000 | 8000 | \cite{Große2017} S. 96
#REF! | variable O&M | €/MWh | kwk klein (0.5-30 MW_el) | variable O&M.kwk klein (0.5-30 MW_el) | 8 | 8 | 8 | \cite{Große2017} S. 96
#REF! | lifetime | a | kwk klein (0.5-30 MW_el) | lifetime.kwk klein (0.5-30 MW_el) | 30 | 35 | 35 | \cite{Große2017} S. 96
| Invest. Eq. | €/MW | pth | Invest. Eq..pth | 80000 | 80000 | 80000 | \cite{Große2017} S. 32
| Invest. Installation | €/MW | pth | Invest. Installation.pth | 40000 | 40000 | 40000 | \cite{Große2017} S. 32
| fixed O&M | €/MW/a | pth | fixed O&M.pth | 5000 | 5000 | 5000 | \cite{Große2017} S. 32
| variable O&M | €/MWh | pth | variable O&M.pth | 0.2 | 0.2 | 0.2 | \cite{Große2017} S. 32
| lifetime | a | pth | lifetime.pth | 20 | 20 | 20 | \cite{Große2017} S. 32
#REF! | Invest | €/MW | kwk mittel (30-250 MW_el) | Invest.kwk mittel (30-250 MW_el) |  |  |  | \cite{Große2017} S. 99
#REF! | Invest | €/MW | kwk groß (>250 MW_el) | Invest.kwk groß (>250 MW_el) |  |  |  | \cite{Große2017} S. 102
#REF! | Invest | €/MW | pth | Invest.pth |  | 120000 | 120000 | \cite{Große2017} S. 32
#REF! | Invest | €/MW | batt | Invest.batt
#REF! | Invest | €/MW | ptg | Invest.ptg
#REF! |  |  |  | .
| efficiency | % | Li-Ion Batt | efficiency.Li-Ion Batt | 0.87 | 0.9 | 0.95 | \cite{Elsner2015a} S. 31
| capacity loss | % per month | Li-Ion Batt | capacity loss.Li-Ion Batt | 0.03 | 0.02 | 0.01 | \cite{Elsner2015a} S. 31
| lifetime | a | Li-Ion Batt | lifetime.Li-Ion Batt | 15 | 21 | 30 | \cite{Elsner2015a} S. 31
| cycle lifetime | # | Li-Ion Batt | cycle lifetime.Li-Ion Batt | 5000 | 7000 | 12000 | \cite{Elsner2015a} S. 31
| capacity max | % | Li-Ion Batt | capacity max.Li-Ion Batt | 0.85 | 0.95 | 100 | \cite{Elsner2015a} S. 31
| Invest | €/MWh | Li-Ion_Großspeicher | Invest.Li-Ion_Großspeicher | 445 | 141 | 105.5 | \cite{Elsner2015a} S. 32
| Invest | €/MWh | Li-Ion_HH-Speicher | Invest.Li-Ion_HH-Speicher | 1340 | 439 | 295 | \cite{Elsner2015a} S. 32
| Invest | €/MW | Umrichter_bidirektional | Invest.Umrichter_bidirektional | 160 | 72.5 | 45 | \cite{Elsner2015a} S. 32
| variable O&M | % von Invest/a | Li-Ion Batt | variable O&M.Li-Ion Batt | 0.01 | 0.01 | 0.01 | \cite{Elsner2015a} S. 32
.
| Invest |  | KWK_20kW_el | Invest.KWK_20kW_el |  | 150000 | 150000 | \cite{Henning2015a} S. 21
| lifetime |  | KWK_20kW_el | lifetime.KWK_20kW_el |  | 17.5 | 17.5 | \cite{Henning2015a} S. 21
| Invest |  | KWK_1MW_el | Invest.KWK_1MW_el |  |  | 750000 | \cite{Henning2015a} S. 21
| lifetime |  | KWK_1MW_el | lifetime.KWK_1MW_el |  |  | 25 | \cite{Henning2015a} S. 21
| Kaltstartkosten | €/MW_el*Vorgang | KWK_1MW_el | Kaltstartkosten.KWK_1MW_el |  |  | 30 | \cite{Henning2015a} S. 21
| Warmstartkosten | €/MW_el*Vorgang | KWK_1MW_el | Warmstartkosten.KWK_1MW_el |  |  | 5 | \cite{Henning2015a} S. 21
| variable O&M | % von Invest/a | KWK_1MW_el | variable O&M.KWK_1MW_el |  |  | 0.09 | \cite{Henning2015a} S. 21
|  | €/MWh | Wärmepreis für Einspeisung |  | 50 |  |  | \cite{UTEC2014} s. 11 | Annahme
|  | €/MWh | Fernwärmepreis für Endkunden in Prenzlau |  | 80.67 |  |  | \cite{Jahnke2017} s. 13
#REF! | variable O&M | €/MWh | kwk mittel (30-250 MW_el) | variable O&M.kwk mittel (30-250 MW_el) | 7 | 7 | 7 | \cite{Große2017} S. 99
#REF! | variable O&M | €/MWh | kwk groß (>250 MW_el) | variable O&M.kwk groß (>250 MW_el) | 5 | 5 | 5 | \cite{Große2017} S. 102
#REF! | variable O&M | €/MWh | pth | variable O&M.pth | 0.2 | 0.2 | 0.2 | \cite{Große2017} S. 32
#REF! | variable O&M | €/MWh | batt | variable O&M.batt
#REF! | variable O&M | €/MWh | ptg | variable O&M.ptg
#REF! |  |  |  | .
#REF! | fixed O&M | €/MW/a | hot water boiler (1-30 MW_th) | fixed O&M.hot water boiler (1-30 MW_th) | 3000 | 3000 | 3000 | \cite{Große2017} S. 19
#REF! | fixed O&M |  | hot water tube boiler (20-250 MW_th) | fixed O&M.hot water tube boiler (20-250 MW_th) | 2000 | 2000 | 2000 | \cite{Große2017} S. 21
#REF! | fixed O&M |  | kwk klein (0.5-30 MW_el) | fixed O&M.kwk klein (0.5-30 MW_el) |  |  |  | \cite{Große2017} S. 96
#REF! | fixed O&M |  | kwk mittel (30-250 MW_el) | fixed O&M.kwk mittel (30-250 MW_el) |  |  |  | \cite{Große2017} S. 99
#REF! | fixed O&M |  | kwk groß (>250 MW_el) | fixed O&M.kwk groß (>250 MW_el) |  |  |  | \cite{Große2017} S. 102
#REF! | fixed O&M |  | pth | fixed O&M.pth | 500 | 500 | 500 | \cite{Große2017} S. 32
#REF! | fixed O&M |  | batt | fixed O&M.batt
#REF! | fixed O&M |  | ptg | fixed O&M.ptg
#REF! |  |  |  | .
#REF! | Effizienz |  | hot water boiler (1-30 MW_th) | Effizienz.hot water boiler (1-30 MW_th) | 0.93 | 0.93 | 0.94 | \cite{Große2017} S. 19
#REF! | Effizienz |  | hot water tube boiler (20-250 MW_th) | Effizienz.hot water tube boiler (20-250 MW_th) | 0.87 | 0.87 | 0.87 | \cite{Große2017} S. 21
#REF! | Effizienz |  | kwk klein (0.5-30 MW_el) | Effizienz.kwk klein (0.5-30 MW_el) |  |  |  | \cite{Große2017} S. 96
#REF! | Effizienz |  | kwk mittel (30-250 MW_el) | Effizienz.kwk mittel (30-250 MW_el) |  |  |  | \cite{Große2017} S. 99
#REF! | Effizienz |  | kwk groß (>250 MW_el) | Effizienz.kwk groß (>250 MW_el) |  |  |  | \cite{Große2017} S. 102
#REF! | Effizienz |  | pth | Effizienz.pth | 0.98 | 0.98 | 0.98 | \cite{Große2017} S. 32
#REF! | Effizienz |  | batt | Effizienz.batt
#REF! | Effizienz |  | ptg | Effizienz.ptg | 0.7 |  |  | \cite{Ausfelder2015}
#REF! |  |  |  | .
#REF! | Effizienz chp_pr |  | el efficiency min | Effizienz chp_pr.el efficiency min | 0.25
#REF! | Effizienz chp_pr |  | el efficiency max | Effizienz chp_pr.el efficiency max | 0.49
#REF! | Effizienz chp_pr |  | power min | Effizienz chp_pr.power min | 0.9
#REF! | Effizienz chp_pr |  | power max | Effizienz chp_pr.power max | 2.7
#REF! |  |  |  | .
#REF! | Effizienz chp_sch |  | el efficiency min | Effizienz chp_sch.el efficiency min | 0.25
#REF! | Effizienz chp_sch |  | el efficiency max | Effizienz chp_sch.el efficiency max | 0.49
#REF! | Effizienz chp_sch |  | power min | Effizienz chp_sch.power min | 8
#REF! | Effizienz chp_sch |  | power max | Effizienz chp_sch.power max | 19
#REF! |  |  |  | .
#REF! | lifetime | a | kwk mittel (30-250 MW_el) | lifetime.kwk mittel (30-250 MW_el) |  |  |  | \cite{Große2017} S. 99
#REF! | lifetime | a | kwk groß (>250 MW_el) | lifetime.kwk groß (>250 MW_el) |  |  |  | \cite{Große2017} S. 102
#REF! | lifetime | a | pth | lifetime.pth | 20 | 20 | 20 | \cite{Große2017} S. 32
#REF! | lifetime | a | batt | lifetime.batt
#REF! | lifetime | a | ptg | lifetime.ptg
.
| CO2-Kosten | €/tCO2 | Vermeidungskosten mittel | CO2-Kosten.Vermeidungskosten mittel | 93.2 | 162.5 | 251 | \cite{UmweltbundesamtUBA2014} S. 6
| CO2-Kosten |  | Schadenskosten (Weu / 1%) | CO2-Kosten.Schadenskosten (Weu / 1%) | 144.162 | 158.51 | 195.455 | \cite{UmweltbundesamtUBA2014} S. 7
| CO2-Kosten |  | CO2-Steuer (Agora Mittel) | CO2-Kosten.CO2-Steuer (Agora Mittel) |  | 198.75 | 352.5 | \cite{Graichen2018} S. 32
| CO2-Kosten |  | ETC-Handelspreis | CO2-Kosten.ETC-Handelspreis | 7 | 33 | 49.6452
| CO2-Kosten |  | CO2-Steuer (Agora Groß) | CO2-Kosten.CO2-Steuer (Agora Groß) | 125 | 125 | 125 | \cite{Graichen2018} S. 34
.
| Kosten Energie | €/MWh | Strom | Kosten Energie.Strom | 0.5 | 0.5 | 0.2
| Kosten Energie |  | gas price | Kosten Energie.gas price | 29.11 | 33.7 | 37.1219
| Kosten Energie |  | Wasserstoff | Kosten Energie.Wasserstoff | 8 | 8 | 8
.
| EE-Erzeugung | MW | Wind | EE-Erzeugung.Wind | 717.51 | 1004.4538 | 1244.3999 | \cite{Faktor-iGmbH2018} | \cite{Bundesnetzagentur2016} S. II Sz B 2035
| EE-Erzeugung |  | solar | EE-Erzeugung.solar | 72.261 | 117.1452 | 156.4194 | \cite{Faktor-iGmbH2018} | \cite{Bundesnetzagentur2016} S. II Sz B 2035
| Strom-Mix-CO2_Emiss BMWi Ref | t/MWh | EE-Anteil | Strom-Mix-CO2_Emiss BMWi Ref.EE-Anteil | 0.5168 | 0.4575 | 0.357 | \cite{Pfluger2017a} S. 181
| Strom-Mix-CO2_Emiss BMWi Basis | t/MWh | EE-Anteil | Strom-Mix-CO2_Emiss BMWi Basis.EE-Anteil | 0.503 | 0.254 | 0.067 | \cite{Pfluger2017a} S. 246
.
.
| planning+installation | % von Invest |  |  | 0.1
| Heat | €/MWh | Fernwärmepreis | Heat.Fernwärmepreis | 50 |  |  | \cite{Zapf2017} S. 115
Note on D12: MW At a 25% electric efficiency, the input power rated is 50% of the maximum capacity. Source: Page 5 Sizing Combined Heat and Power Units and Domestic Building Energy Cost Optimisation https://doi.org/10.3390/en10060771
Note on D13: Electric maximum power MW
Note on C21: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C22: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C23: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C24: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C25: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C26: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C27: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C28: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on C29: PRENZLAU AQUIFER WÄRMESPEICHER source: Page 11 https://www.prenzlau.eu/sixcms/media.php/569/Fernw%C3%A4rmekonzept_Innenstadt.pdf
Note on D53: MW
Note on D57: MW
Note on D59: MW
Note on D61: MW
Note on D63: MW
Note on D65: MW
Note on D67: MW
Note on D69: MW
Note on D71: MW
Note on D73: MW
Note on D75: MW
Note on D77: MW
Note on D78: MW
Note on D80: MW
Note on D88: MW
Note on D95: MW
Note on C97: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on C99: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on C100: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on C101: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on C102: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on C103: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on D103: MW At a 25% electric efficiency, the input power rated is 50% of the maximum capacity. Source: Page 5 Sizing Combined Heat and Power Units and Domestic Building Energy Cost Optimisation https://doi.org/10.3390/en10060771
Note on C104: PCK refinery in Schwedt. It is not well defined how much heat do they supply to the district heating system; however an estimation has been done. Source: https://www.pck.de/en/company/divisions/
Note on D104: Electric maximum power MW
Note on D109: MW
Note on D111: MW
Note on D205: MW At a 25% electric efficiency, the input power rated is 50% of the maximum capacity. Source: Page 5 Sizing Combined Heat and Power Units and Domestic Building Energy Cost Optimisation https://doi.org/10.3390/en10060771
Note on D206: Electric maximum power MW
Note on D210: MW At a 25% electric efficiency, the input power rated is 50% of the maximum capacity. Source: Page 5 Sizing Combined Heat and Power Units and Domestic Building Energy Cost Optimisation https://doi.org/10.3390/en10060771
Note on D211: Electric maximum power MW